City of Seattle

RFP No. SPU 3713

TITLE:  Flow Monitoring Goods and Services

Closing Date & Time: 6/23/17 at 4 PM Pacific

Table 1 – Solicitation Schedule

| Events | Date |
| --- | --- |
| RFP Issued | 5/18/17 |
| Optional Pre-Proposal Conference | 5/30/17 at 1 PM Pacific |
| Deadline for Questions | 6/15/17 |
| Sealed Proposals Due to the City | 6/23/17 at 4 PM Pacific |
| Interviews, if conducted | 7/10/17-7/14/17 |

The City reserves the right to modify this schedule at the City’s discretion.  Notification of changes in the response due date would be posted on the City website or as otherwise stated.

PROPOSALS MUST BE RECEIVED ON OR BEFORE THE DUE DATE AND TIME

AND MUST BE AT THE LOCATION STATED IN SECTION 6

Mark the outside of your mailing envelope indicating RFP# SPU 3713

By responding to this Request for Proposal (RFP), Proposer agrees that s/he has read and understands all documents within this RFP package.

# PURPOSE AND BACKGROUND

By responding to this Request for Proposal (RFP), Proposer agrees that s/he has read and understands all documents within this RFP package.

Purpose:

The objective of Seattle Public Utilities (SPU)’s contract scope of work is to provide flow and precipitation monitoring goods and services, including services that are needed on an annual basis as well as shorter-term services whose need may arise from time to time.  Most if not all the services will be in support of SPU’s Drainage and Wastewater (DWW) System.  Requirements include knowledge and willingness to use ADS Flowshark Triton + monitors already purchased by the City and Flowworks web-based data warehouse.

Background:

SPU operates and maintains the DWW system, which includes storm drainage, sanitary sewers and combined sewer systems (CSS).  SPU engages in a variety of DWW monitoring activities primarily to assess systems performance, support capital planning projects, and provide regulatory compliance.  The DWW monitoring projects require proper field installation, operation, and maintenance of field monitoring equipment that collects measurement data such as flow and precipitation.

SPU’s scope of work (flow monitoring in combined sewers) is an explicit requirement of the City’s Combined Sewer Overflow (CSO) National Pollutant Discharge Elimination System (NPDES) permit from the Washington State Department of Ecology.  The permit requires that: “the Permitee [i.e., City] shall monitor all permitted outfalls with operating automatic flow monitoring equipment for discharge location, time, duration, volume, and weather-related information (precipitation and storm duration)…”  This NPDES permit requirement is consistent with the Federal Clean Water Act and CSO Control Policy.

In order to comply with the above permit requirement as well as performance expectations on other flow monitoring elements of the SPU scope of work, the vendor is required to provide highly accurate depth and sometimes velocity data, depending on the configuration of the flow monitoring site.  Calculation of overflow volume to report to the Washington Department of Ecology is generated in three ways:  using depth over a primary device such as a weir, calculating area/velocity flow in the outflow pipe exiting the structure, or an orifice calculation for an elevated overflow pipe.

Other City Departments do not have the same CSO monitoring requirements as SPU; however, they could use the City’s vendor contractor if they needed to perform temporary flow monitoring in their sewer or storm drain pipes.

Single Award:  With this solicitation, the City intends to award one contract and does not anticipate award to multiple companies.  Regardless, the City reserves the right to make multiple or partial awards.

# SOLICITATION OBJECTIVES

The City expects to achieve the following outcomes through a new blanket contract.

The objective of this solicitation is to provide a skilled and responsive vendor with experience in flow and precipitation monitoring goods and services through a successful contract.  The City desires to get the best value for our rate payers while collecting quality data needed to fulfill Ecology requirements.  The City would also like to obtain successful and significant women and minority-owned business (WMBE) participation in subcontracting work and diverse employment.

# MINIMUM QUALIFICATIONS

The following are minimum qualifications and licensing requirements that the Vendor must meet to be eligible to submit a RFP response.  Responses must clearly show compliance to these minimum qualifications.  Those that are not clearly responsive to these minimum qualifications shall be rejected by the City without further consideration:

- The lead contracting firm must have at least 5 years of experience working as a primary vendor on at least one large combined sewer overflow flow monitoring contract (i.e., greater than 100 flow monitors and 10 rain gages), where positive detection of overflow occurrence, measurement and calculation of flow volume, and measurement of rainfall were performed and reported to a regulatory authority.

- The lead contracting firm must have at least 5 years of experience performing data analysis, data validation, data finalization, and reporting on flow monitoring data that meets the quality level required for regulatory reporting to the State of Washington Department of Ecology or its equivalent.

- The vendor must have a local office that allows them to respond for emergency service to any monitoring location within 2 hours.

- The vendor must support the web-based system Flowworks to view flow monitoring data in near-real time.   Near-real time in this context means that data is refreshed from connected meters every 12 hours, and uploaded from manual meters on a schedule mutually agreed upon by vendor and the City.  System must provide event alarming and notifications of equipment or communication failures.  The system must be accessible to anyone with appropriate password and internet access and have ability to email or text alarm event notifications.

- The vendor must have the ability to respond 24x7 to monitoring outages and restore data collection from non-functioning meters within 72 hours.

- The vendor must have experience in the operation of all major brands (ADS, Marsh-McBirney, Teledyne Isco, etc.) of flow monitoring and rain gage equipment as needed.

- The vendor must be able to install and operate intrinsically safe flow monitoring instruments that communicate to the City’s SCADA system.

The Vendor, if other than the manufacturer, shall provide a current, dated, and signed authorization from the manufacturer that the Vendor is an authorized distributor, dealer or service representative and is authorized to sell the manufacturer's products.  Failure to comply with this requirement may result in bid/response rejection.

# LICENSING AND BUSINESS TAX REQUIREMENTS

This solicitation and resultant contract may require additional licensing. The Vendor must meet all licensing requirements that apply to their business immediately after contract award or the City may reject the Vendor.

Companies must license, report and pay revenue taxes for the Washington State Business License (UBI#) and Seattle Business License, if they are required to hold such a license by the laws of those jurisdictions.  The Vendor should carefully consider those costs prior to submitting their offer, as the City will not separately pay or reimburse those costs to the Vendor.

Seattle Business Licensing and associated taxes

- If you have a “physical nexus” in the city, you must obtain a Seattle Business license and pay all taxes due before the Contract can be signed.

- A “physical nexus” means you have physical presence, such as: a building/facility located in Seattle, you make sales trips into Seattle, your own company drives into Seattle for product deliveries, and/or you conduct service work in Seattle (repair, installation, service, maintenance work, on-site consulting, etc).

- We provide a Vendor Questionnaire Form in our submittal package items later in this RFP, and it will ask you to specify if you have “physical nexus”.

- All costs for any licenses, permits and Seattle Business License taxes owed shall be borne by the Vendor and not charged separately to the City.

- The apparent successful Vendor must immediately obtain the license and ensure all City taxes are current, unless exempted by City Code due to reasons such as no physical nexus. Failure to do so will result in rejection of the bid/proposal.

- Self-Filing You can pay your license and taxes on-line using a credit card  https://dea.seattle.gov/self/

- For Questions and Assistance, call the Revenue and Consumer Protection (RCP) office which issues business licenses and enforces licensing requirements.  The general e-mail is rca@seattle.gov.  The main phone is 206-684-8484.

- The licensing website is http://www.seattle.gov/rca/taxes/taxmain.htm.

- The City of Seattle website allows you to apply and pay on-line with a Credit Card if you choose.

- If a business has extraordinary balances due on their account that would cause undue hardship to the business, the business can contact our office to request additional assistance. A cover-sheet providing further explanation, along with the application and instructions for a Seattle Business License is provided below.

- Those holding a City of Seattle Business license may be required to report and pay revenue taxes to the City.  Such costs should be carefully considered by the Vendor prior to submitting your offer.  When allowed by City ordinance, the City will have the right to retain amounts due at the conclusion of a contract by withholding from final invoice payments.

State Business Licensing and associated taxes

Before the contract is signed, you must have a State of Washington business license (a State “Unified Business Identifier” known as a UBI number#).  If the State of Washington has exempted your business from State licensing (for example, some foreign companies are exempt and in some cases, the State waives licensing because the company does not have a physical presence in the State), then submit proof of that exemption to the City.  All costs for any licenses, permits and associated tax payments due to the State as a result of licensing shall be borne by the Vendor and not charged separately to the City.  Instructions and applications are at http://bls.dor.wa.gov/file.aspx

- SPECIFICATIONS and SCOPE OF WORK

- Site Documentation:  The vendor shall maintain an electronic library with all site documentation.  Site documentation shall be updated within] two weeks of a site installation or change.  All site documentation (including past revisions) and any applicable site information shall be made available to the City through vendor data delivery system.  Site documentation includes the following:

  - Site Photos:  For every site that is inspected and selected for installation, the vendor shall photograph each site. Required photos should clearly indicate:

      - Indicator arrows to indicate the purpose of the photo

      - Above-ground landmarks and which maintenance hole contains meter

      - All pipes into and out of the maintenance hole

      - Control (weir, overflow pipe, or other)

      - A wide angle shot that shows both the sensors and the weir or control in relationship to each other (if possible)

      - Sensor locations

      - Any unusual conditions that might affect data quality (silt, roots, unusual pipe size/shape, uneven weirs, shallow depth, deep depth, pump station inputs, etc.)

      - Photo file names must include site name, photo subject, and date stamp

  - Site Reports:  For every site that is inspected and selected for installation, the vendor shall compile the site investigation information, sketches, plans, measurements, and photographs into a site report. Required site report content shall include:

      - Site name

      - Monitor make and model number

      - Address/location

      - Type of system (sanitary, storm, combined)

      - Maintenance hole #

      - All pipe heights/widths

      - Any unusual pipe shape information, including a pipe cross-section if non-standard size

      - Accuracy limits associated with the equipment configuration

      - Date/time of investigation and installations

      - Date of activation of remote communications

      - Summary of site hydraulics (short description of flow characteristics observed by crew)

      - Depth of flow (at monitoring point)

      - Peak velocity (near monitoring point)

      - If the velocity sensor is installed in an outgoing pipe pointing downstream, the method for interpreting positive vs. negative velocity needs to be documented

      - Silt depth

      - Maintenance hole depth from maintenance hole rim

      - Maintenance hole material/condition

      - Pipe material/condition

      - Installation type

      - Minimum of 2 location maps that indicate how to precisely identify the location of meter, so that someone who had never been to the site before could find it

      - Traffic control information and information that is necessary to permit safe entry (keys, fast traffic, night site, etc.)

      - Primary rain gauge and 2 secondary gauges

      - Side and top view diagrams (detailed site drawing may be referenced)

      - Direction of flow

      - Structure elevations and position relative to the control (hydrobrakes, pipes, gates, etc.)

      - Location and labeling of all monitoring locations

      - Horizontal distance inside pipe from face of pipe to where the monitor band is installed (detailed site drawing may be referenced)

      - Sensor locations (ultras, velocity, pressure)

      - Special circumstances, such as bi-directional velocity or reversed orientation of velocity sensor

      - Source of information if not from field measurements (example: from as-builts)

      - Site report revision number and date

      - Notation of probe offsets

      - Flow measurement method programmed into meter

  - Detailed Drawing:  For every NPDES site that is inspected and selected for installation, the vendor shall compile the site measurements information in a detailed drawing. Required detailed drawing content shall include but not limited to:

      - Flow calculation entities (weir width, length, height, etc.) used in the overflow calculation.  If effective weir length is different from stated dimensions, must be defined.

      - Zero datum

      - Distance from zero datum to:

        - rim

        - pipe inverts

        - ceiling

        - bench

        - lowest overflow point

        - any asset inverts (i.e. hydrobrakes, gates, etc)

        - sensor face

      - Weir wall height measured every 6 inches

      - Overflow alarm set point height

      - Cross-section and top view

      - Horizontal distance inside pipe from face of pipe to where the monitor band is installed

      - Sensor locations (ultras, velocity, pressure)

      - Pipe sizes

      - Arrows indicating direction of flow

- Initial site investigation: The vendor shall perform a detailed internal investigation of each proposed monitoring site to document the hydraulic conditions at the site.  Site investigations include the following actions to assess the site:

  - Assess the hydraulic features: The vendor shall assess/confirm that there are no hydraulic features (or structures) that would cause unstable flow either during wet or dry weather such as:

      - Skewed flow due to a bend or contraction in the sewer;

      - Turbulence due to upstream drop shafts and vortex drops or junctions, etc.

      - Turbulence due to overflow weirs (the sensor should be located at least 2 times the length of the weir upstream of the weir)

      - Turbulence due to an orifice or location where flows are restricted (the sensor should be placed at least 10 diameters downstream of the restriction.

      - Other conditions such as bad upstream joints, incoming storm lines, diversion dams, leaping weirs, pipe to structure transitions, etc.

  - Assess the potential maintenance issues: The vendor shall assess if the site is prone to debris accumulation that may affect the data quality, and document accordingly in the site report.

  - Assess the potential health and safety issues:  The vendor shall assess risks that the site and the traffic conditions present to the health and safety of the monitoring work crew.

  - Document each site with photographs: The vendor shall photograph each site (see section 1.1).

  - Conduct alternate site inspections as appropriate: The vendor shall use the results of the primary site inspection to either confirm its suitability for installation or determine that additional site investigations of alternates are necessary.  If the data quality that can be gathered from the site is determined to be questionable, the vendor shall work with City and/or its Consultants to propose alternate monitor locations and/or configurations to meet the objectives of the monitoring effort.

- Equipment installation:  During all installation and testing activities, the vendor shall protect existing property and pay for all costs to restore property to pre-existing conditions.

  - Flow/depth monitoring: The vendor shall follow the installation standards for flow monitoring in pipe sites listed below:

      - All cabling between the probe, the band, and the data loggers shall be secured tightly to the sewer or maintenance hole walls

      - The data logger’s housing and cabling in the sewer maintenance hole shall be installed to minimize restrictions for access to the maintenance holes

  - Rain gauge:  The vendor shall follow all equipment manufacturers' recommendations when performing installations, including:

      - Install all equipment on mat

      - Don’t puncture any part of roof

      - Work with designated rain gauge contacts listed in MOA for site access

  - Documentation:  The vender shall provide documentation as listed in section 1.  All installation records shall be made available to the City through the vendor’s web-based or ftp-based data delivery system.

  - Field confirmation: The vender shall conduct field confirmation as listed in section 4.

- Field confirmations:

  - Flow/Depth monitors: Following monitor installation, every 12 months, and as needed to ensure accurate data collection the vendor shall conduct confirmations.  If field confirmation doesn’t line up with monitor readings, the vendor shall troubleshoot equipment per manufacturer’s recommendations and perform additional confirmations until field data lines up with monitoring readings.  The results of all confirmations shall be recorded and documented in the web-based or ftp-based data delivery system and made available to the City.  If any confirmations do not match the data record, then the vendor shall document how this discrepancy will be addressed in final data delivery.  During all installation and testing activities, the vendor shall protect existing property and pay for all costs to restore property to pre-existing conditions.  The vendor shall perform the following confirmations:

    - Depth measurement: The vendor shall measure the depth of flow with a ruler or other measurement device and compare to what the installed meter is reading.

    - Velocity measurement: The vendor shall confirm the installed meter’s velocity with an industry-standard field velocity meter and compare to what the installed meter is reading.

    - Sediment:  The vendor shall confirm depth of any sediment present.

    - Hydraulics: The vendor shall summarize site hydraulics (short description of flow characteristics observed by crew).

    - Range of flow conditions:  The vender shall confirm monitor settings are adjusted for measuring range of flow conditions

    - Bi-directional velocity: The vendor shall confirm that sites requiring bi-directional velocity measurement are programmed to record reverse velocity.

  - Rain Gauges: Field calibrations shall be completed following equipment installation, every 12 months, and as needed to ensure accurate data collection and shall be performed in accordance with the equipment manufacturer.  The City will determine if more frequent calibration is needed and calibrations may coincide with a service call.

  - Units: The vendor shall confirm and document that the correct units of measure are being recorded.

  - Communications: The vendor shall confirm that the monitor’s communication system is functioning correctly.

  - Time step: The vendor shall confirm the correct time-step is being recorded.

    - Confirm five-minute data logging at all sites flow/depth during normal operation

    - Confirm one or two-minute data logging at NPDES sites during overflows

    - Confirm one minute data logging at rain gauges

  - Time zone: The vendor shall ensure that all meters are synchronized to Pacific Standard Time (PST) throughout the year.  No change to meter timestamp for daylight saving time.  The vendor’s data delivery system shall always convert meter time to the current local time.

  - Monitor firmware:  The vendor shall confirm that monitoring equipment is current with latest manufacturer firmware and that monitor is functioning properly each time the firmware is upgraded.

- Field management:  The vendor shall provide a locally-based dedicated field administrator (or field manager) for all activities associated with this scope of work. The field administrator shall oversee the scheduling and work efforts of all the field crews.  The field administrator shall maintain a work-order management system with records of all field activities (e.g., calibrations, site investigation, instrument installation, instrument confirmation, replacement, etc.) and all instrument failures.  The field administrator shall schedule work orders for crews and appropriately resource all field activities.  The field administrator shall be the single point of contact for all field and equipment issues.

  - Flow/depth Monitoring Field Service:  The vendor shall inspect, operate, maintain and document maintenance activities associated with monitoring equipment, monitoring communication equipment, and monitoring site physical locations.  This may involve visual or video inspection, clean-up, addressing surcharges or changed conditions, as well as routine maintenance activities.  Equipment should be maintained in accordance with manufacturer recommendations, to include, but not limited to: battery replacement, desiccant replacement, sensor cleaning, calibration check, etc.

  - Rain Gauge Field Service:  The vendor shall inspect, clean, repair and/or replace and carry out preventative maintenance services in accordance with manufacturer’s specifications to maintain reliable operation of the rain gauge site. This may involve onsite inspection of the rain gauge equipment and on site and remote diagnosis of the data being collected by the equipment to determine service required.

  - Reporting of maintenance activities:  All calibration, maintenance, and repair/replacement activities shall be documented and available to the City and/or its Consultants on a web-based or ftp-based data delivery system. Maintenance on monitors shall be reported to the City based on site identification number and meter serial number.  It is the responsibility of the vendor to verify that monthly site visits including monthly inspection, maintenance, and confirmation of the equipment have been completed.  The maintenance records shall include the following details:

      - Site name

      - Date/time of site visit

      - Work order number

      - Description of the problem or service at the meter

      - Date/time of completion for any work performed

      - Name of the person requesting work to be performed

      - Name of the person who performed the work

  - Additional flaggers/traffic control personnel: The vendor shall provide crews consisting of two people to complete installation, service, and removal of equipment.  If additional flaggers and/or staff are required to complete field activities, the vendor shall be reimbursed by the City at a value mutually agreeable to the City and the vendor, to be determined and agreed upon before work is started using hourly rates listed on the bid sheet. If police presence is required for traffic control, the vendor shall submit invoices and be reimbursed by the City.

  - Unscheduled service: The vendor shall provide 72-hour repair response at a minimum to sites in disrepair or having communications issues.  Field crews shall be directed not to leave a site unless the equipment is collecting data properly. All crews shall carry replacement equipment (including replacement meters and sensors) in their vehicles for every site visit. The crew shall repair, clean, re-program, or replace equipment as necessary to obtain proper operation.  Crews shall be required to provide evidence of proper operation to data reviewers, especially when a problem is found and correctly solved by the crew. Crews must finish the process by collecting additional data as evidence of the equipment’s correct operation, documenting findings, and posting this information within 2 business days to the vendor’s data delivery system.  Costs for repair or replacement of flow monitors or flow monitor parts, including labor due to activities out of vendor control (i.e. force majeure, vandalism, other contractors, unauthorized City activities, etc.) shall be reimbursed by the City at a fee mutually agreeable to the City and the vendor, in addition to the standard monthly service fee. The vendor shall stock parts locally. To ensure service is minimally impacted by an inoperable monitor, the vendor may temporarily replace a monitor in the field with a replacement unit.

- Data Management:

  - Data Quality Assurance / Quality Control (QA/QC):  The vendor shall provide the City with a copy of the vendor’s standard procedures for assuring data quality and finalizing data.  The vendor shall dedicate a trained and knowledgeable full time data analyst who shall oversee the QA/QC of the flow monitoring and rainfall data.  The data analyst shall be available to resolve issues and answer questions from City staff.  The data analyst is responsible for the following activities:

    - Diagnostics:  The vendor shall monitor the data being transmitted from the monitoring sites and shall carry out a diagnostic inspection of the data.  Diagnostic inspections shall include checks to ensure that the site is transmitting data, to verify that velocity, ultrasonic, and pressure depth data is within expected limits, and that the data being recorded is reliable and consistent.

    - Review of monitoring data: The vendor shall review flow time series and level/velocity scatter graphs for each site.  Assessment should consider whether or not the data signature for the flow monitor has changed, and if so, whether or not repair and/or cleaning is necessary.

    - Additional QA/QC-related tasks:

  - Promptly reviewing data from all sites immediately following a significant rain event, defined as over 1 inch of rainfall in 24 hours

  - Maintaining a database that flags and records notes on invalid, questionable, and/or reconstituted data

  - Issuing service requests in the event that a flow monitor need service

  - Contacting the City in case there are maintenance issues (e.g., debris build-up) or blockage of access to monitoring sites, or other issues that need to be resolved in order to prevent loss of data

  - Coordinating field confirmations as-needed

  - Maintaining a record of all data points indicating whether the data is raw, edited, or finalized

  - Analysis of what the monitoring results are indicating - e.g. possible I&I problems, etc.

  - QAQC of rain data:  The vendor shall follow the City’s rain gauge standard operating procedure for quality assurance methods. The vendor will provide the City with a copy of the vendor’ standard procedures for rain gauge maintenance. The following additional analysis to rain gauges needs to be completed and reported to the City on a monthly basis:

        - Double-mass balance of all rain gauges

        - Cumulative comparative analysis of all rain gauges

        - Documentation of any changes to the rain data record

        - Corrections based on analysis to be documented and sent to the City for review and approval, and then made part of the final data record.

        - Raw and final rain gauge data to be posted in both tabular and graphical form on the web-based data delivery system.

        - Storage of both raw and final rain gauge data by the vendor.

  - Finalization: The vendor shall reconstitute identified invalid or questionable depth and/or velocity data that has a reasonably repeatable hydraulic depth and velocity relationship.  The vendor shall generate flows using area/velocity calculations for locations where hydrologic conditions are appropriate for finalization. The vendor shall upload to the web-based data delivery system finalized depth, velocity and flow data by COB of the 15th business day of the following month.

  - Monthly Combined Sewer Overflow (CSO)Report: The vendor shall electronically deliver a monthly CSO monitoring report detailing overflow volumes, overflow duration, storm durations, storm precipitation, and monitoring outages in excel format to the City by the 15th day of each month, for the previous month’s data.  Preparation of this report will require review and familiarity with the logic steps for flow calculation at each site as per CSO flow calculation documentation.  The overflow report will be in spreadsheet format using a template provided by the City.

  - Alarming:

    - Dry weather overflow (DWO):  A DWO is defined as a CSO that occurs after 24 hours of no rain at all three rain gauges assigned to a site with a permitted NPDES outfall.

      - Filtering:  The vendor will assign qualified, trained staff to monitor 24 hours/7 days a week for dry DWO events.  This standard applies to both pre-overflow and overflow alarms.  The alarm validity shall be assessed by the vendor and a determination shall be made as to whether or not the alarm is valid or not.

        - Response:

          - Valid Alarm: The vendor shall report valid dry weather pre-overflow and overflow alarms to the City operations and maintenance personnel within 30 minutes of receiving the alarm.

          - Invalid Alarm:  The vendor shall notify designated City staff of any invalid DWO alarms via email within 1 business day of the event.

      - Preliminary reporting:  The vendor shall email designated City staff information about the DWO event, including the date and time of the overflow, the volume and duration of the event, and any available information regarding the probable cause of the overflow, within one business day of a DWO having returned to a normal state.

    - Wet weather overflow (WWO):   A WWO is defined as any CSO that occurs within 24 hours of a rain event at any one of the three rain gauges assigned to a site with a permitted NPDES outfall.  The vendor will be responsible for delivery of alarm notifications for pre-overflow events and for overflow conditions.

      - Special conditions: The vendor shall notify the City within 24 hours of a condition at a site where a WWO occurs and does not return to a normal state after the rain stops.  Depending on circumstances, this condition may be regarded as a DWO aggravated by a maintenance issue and subject to the same reporting requirements as a DWO event.

  - Data review workshops: The vendor shall send the project’s lead data analyst and engineer to data review workshops as scheduled with the City and/or its consultants.  During each workshop, vendor shall be prepared to discuss the data QA/QC activities, field activities, data issues with any of the sites, recommendations to resolve new data issues, and progress resolving previously identified data issues.  Vendor shall also be prepared to provide alternative suggestions for monitoring if site hydraulic conditions present major obstacles to collecting good data, and to comment on the potential reasons for unexpected results.

  - Data analyst documentation:  The vendor shall document all activities initiated by the data analyst, including finalization activities.

  - Response to City’s inquiries:  The vendor shall be responsible for responding to data inquiries from the City and/or its consultants within 24 business hours.  In the event of a data inquiry from the City, the vendor shall review the data immediately, dispatch a field crew (if necessary), and resolve the problem (if one exists) within 72 hours of the identification of the issue.

- Data Delivery:  Vendor shall maintain a secure web-based data delivery system (referred hereafter as “system”) for the purpose of managing and delivering data to the City.  The system shall be accessible via password to the City staff, consultants, and collaborators to approximately 150 users, 50 simultaneous users.  The system shall be equipped with the following features:

  - Data collection (connectivity/communications availability):  Monitoring data shall be collected via wireless or phone line connections at all locations as long as it is possible and effective. The vendor shall maintain connectivity of 95% for each site.  Connectivity is defined in this context as wireless connected meters uploading to the vendor’s web-based data delivery system on the schedule agreed upon by the vendor and the City, so that City staff can see the data that has been collected at the site.  Therefore, 95% of those downloads per day should be successful.  For all sites not achieving 95% connectivity, the vendor shall manually download the data, at a minimum, every three days for daily reviewed locations and every ten days for weekly reviewed locations.  Manually collected data shall be posted within three days of collection to the data delivery system.  Using these guidelines, data displayed on the vendor’s data delivery system from daily reviewed sites should never be more than six days out of date, even from sites that require manual downloads.  For weekly reviewed sites, delivery of data to the City should never be more than thirteen days out of date.  Communications issues regarding landline telephone, cellular service, or other services for remote communications that are not covered under this service contract are not the responsibility of the vendor. Where it is determined by the vendor and agreed upon by the City that the communication issue is not related to the alarming service or other communications set up by the vendor, the vendor staff shall inform the City of Seattle of the communications issues found outside the service the vendor provides.

  - Access to data, data downloading, data warehousing, and reports:

    - The vendor shall maintain a list of individuals who have access to the system and be able to provide additional users with access to the system within two business days. The vendor shall provide training and support services to the City and/or its consultants for use of the system.

    - Ability to download data for any specified time period on demand as an MS Excel, text, and/or comma separated value file.

    - An on-demand report detailing the connectivity rate of each site shall be made available through the system.  This report should indicate at what date/time stamp connection to the meters was successful, and also the date/time stamp of unsuccessful attempts.  Upgrades to all new versions of the vendor’s system shall be provided to the City free of charge for the duration of the contract.

    - Warehousing of all data collected shall be carried out by the vendor.

    - The system shall be capable of storing documents that represent critical metadata for the flow monitoring, including site reports and photos (for example Excel files, photos, and .pdf files). Maintenance records for fieldwork also need to be readily accessible through the system and updated versions should be posted at least twice a week.  Other reports generated by the vendor that are to be distributed to the City shall also be posted to the system.

  - Display of data:

    - Ability to display raw and final data for depth, velocity, flow quantity and rainfall.  The data shall be plotted in hydrograph, scattergraph, and tabular formats for depth, velocity and flow data and in tabular or hyetograph format for rainfall data.

    - Ability to display rain with other parameters of level, velocity, and flow on the same graph, or as a set of individual graphs by site with the same parameters selected.

    - The system shall allow multiple parameters from different sites to be displayed on the same graph or as a set of individual graphs by site with the same parameters selected.

    - Date range and display interval (weekly, monthly) should be selectable and depth and velocity verifications should be able to be made visible on graphs.

  - Alarm notification Alarms shall be capable of being delivered to specific individuals via pager, cell phone, text message, email and in reports from the web site.  Email notifications of events shall be transmitted to individuals on a contact list updated and provided to the vendor by the City.  A user-configured alarm history report shall be created to report historical alarm data for specific sites and for a specific time period.

- Uptime expectations:  The goal of the monitoring is to have outages of no more than 24 hours, and to minimize outages wherever possible.  A monitor outage is defined as a period where no data is available, or none of the monitoring points accurately reflect the conditions present where the sensors are installed (i.e. data is skewed or inaccurate due to debris, misreading sensors, or other problems).  Monitor outages of more than 72 hours represent an unacceptable loss of data, and will require additional response documentation, and may trigger liquidated damages assessed by the City.  The vendor should be aware that there are some NPDES permitted outfalls that have multiple monitoring points connected to a single outfall.  In this case, monitoring outage time is calculated and reported cumulatively by outfall to the Washington Department of Ecology, so special care should be taken to avoid monitor outages in these monitoring points.

  - Monitoring uptime defined:  The vendor shall be expected to provide at least 95% of the possible data points each calendar month (number of data points recorded divided by the total number of possible data points that could be recorded in a month at a five-minute time-step.)

  - Example calculation of monitor uptime:  A flow meter stops recording in July due to a software update error by the vendor field crew.  The problem is identified and fixed at 72 hours, and data is valid for the remainder of the month.

    - Number of possible usable data points => (31 days in July) x (5 minute collection interval) = (8,928 possible data points)

    - Number of missing data points = 864 data points

    - 8,928 – 864 = 8,064 valid data points at a five-minute interval for July

    - (Recorded data points)/(possible data points) = (monitor uptime)

    - 8,064 /8,928 = 90.3% data recorded for the month of July at this site

In this example, the expectation for recorded monitor uptime has not been met.

  - Best management practices for preventing monitoring outages: The vendor shall implement the following best management practices, as well as any other procedures to maximize monitor uptime:

    - Staffing: The vendor shall maintain a sufficient number of permanent field service crews located within Seattle that are dedicated to the monitoring sites identified in this contract.

    - Preventive maintenance /repair/replacement: The vendor shall repair and/or replace and carry out all preventive maintenance services needed for reliable operation of all meter sites.  Preventative maintenance activities shall include replacement of batteries, desiccant, corroded parts or damaged or fouled sensors. The vendor shall be responsible for costs related to the proper replacement/disposal of all meter batteries and other consumables (desiccants, seals, etc.). The real time operating status of the monitor shall be checked, including verification of appropriate recording interval, and the level, velocity, signal strength, temperature, and battery voltage (as applicable to the model) shall be recorded at the site. Batteries shall be replaced in accordance with the minimum voltage specified by the manufacturer for specific meters.  Desiccant shall be replaced as needed.  Additional repair and maintenance services shall include, but not be limited to: verifying communications links (flow meter to external communication system), scrubbing dirty sensors, replacing damaged cables, verifying monitor functioning after firmware updates, and verifying proper functioning of all other components necessary for the monitoring sites to provide reliable and consistent data.  Costs for repair or replacement of flow monitors or flow monitor parts (excluding consumables), including vendor labor, due to activities out of vendor control (i.e. force majeure, vandalism, other contractors, unauthorized City activities, etc.) shall be reimbursed by the City at a fee mutually agreeable to the City and vendor, in addition to the standard monthly service fee. The vendor shall stock all spare parts locally.  The vendor shall perform re-installation of any monitoring equipment that is vandalized, damaged, or stolen.

    - Reducing monitoring outages:  The vendor shall attempt to limit monitoring outages by scheduling data diagnostics and field maintenance to ensure that each monitoring site be out of service for no more than 72 hours at daily reviewed sites or ten days for weekly reviewed sites. However, the City considers monitoring outages of more than 24 hours to be a serious matter that should be avoided.

    - Redundancy at CSO monitoring sites: The City requires that (if possible) each CSO monitoring point have a secondary method of establishing whether or not an overflow has occurred.  This method could be a secondary monitoring point, evidence of chalk or cork on the weir which indicates that an overflow did or did not occur, or direct observation during the period that the meter was out of service.  Other alternative methods may be acceptable, but must be reviewed and approved by the City.  The method used does not have to be complex or costly, but needs to be definitive about overflow occurrence to be effective.

  - Explanation of monitoring outages: The vendor shall provide the City with all details for a monitoring outage, including why the outage occurred and what the vendor will do to minimize the chance of another monitoring outage.  This information is to be provided in writing to the City within two business days for any outage over 72 hours.

  - Reporting of monitor uptime: The vendor shall report uptime by site monthly to the City, expressed as a percentage.

  - In the event of a monitoring outage: If any site experiences a time period greater than 72-hours (daily reviewed site) or 10 days (weekly reviewed site) during which data from the site is unavailable to the City and unrecoverable, then vendor shall not invoice the City for the field site maintenance charges, data analyst charges, alarm filtering charges, and web-based or ftp-based delivery charges for that site during the time of disrepair that the outage occurred.   This credit of charges shall not apply to sites that are affected by power or communications failures external to the vendor equipment.  In addition, the City reserves the right to assess damages for monitor outages that result in additional labor on the part of City staff or its consultants to model or assess the frequency and volume of an overflow event that occurred during a monitor outage of more than 72 hours.

- Project management:  The vendor shall provide a dedicated project manager for all activities associated with this scope of work. The project manager shall manage the overall project scope, budget, and schedule, and shall be the single point of contact for all project issues.  The project manager shall oversee the field administrator, data analysts, data management, and other associated field work.  The project manager shall also perform the following activities:

  - Progress meetings:  Once or twice a month, the vendor shall participate in progress meetings, which shall include updates on ongoing work and a review of tasks completed.

  - Action item tracking:  The vendor shall maintain an action item list for management of tasks requested by the city.

  - Monthly invoicing: The vendor shall provide monthly invoices.  Invoices for work that is billed as services (which are not taxed) should be on a separate invoice from labor and goods, which are taxed.

  - QA/QC Plan: The vendor shall prepare a high-level project Quality Assurance / Quality Control (QA/QC) Plan using examples and guidance provided by the City. The document shall describe the vendor’s procedures for reviewing work and ensuring quality work through all phases and aspects of the project.

  - Managing subcontractors:  The vendor shall manage subcontractors, including their scopes, contracts, and budgets.

- Permits:  The vendor is responsible for all permits and compliance to local, state, and national codes.  The vendor must supply permits and other traffic documentation upon request.  The vendor shall obtain vehicle permits directly from SDOT.

- Project Specific Health and Safety Plan:  The vendor shall submit a project specific health and safety plan for informational purposes to the City’s Safety Coordinator.  The Safety Plan shall meet the requirements of the City of Seattle, the Washington State Department of Labor and Industries (WSDLI), OSHA, WISHA and other jurisdictional agencies and regulatory requirements.  HAZ-MAT training for proper handling of potentially hazardous materials may also be required, depending on work tasks.  The City’s review of the safety plan does not constitute approval.  The vendor is solely responsible for ensuring worker safety training, personal protective equipment, safety equipment for confined space entry, and is in sole control of the flow monitoring site(s) when implementing work tasks under this contract.  The vendor shall comply with the vendor’s safety requirements or the City’s safety requirements, whichever are more stringent.  Confined space entry shall be in accordance with the City’s safety standards.  The vendor shall provide a safety representative who shall be located on a full-time basis in Seattle to manage compliance with safe working procedures.  Work may also occasionally need to be performed on private property.  Private property is not to be damaged. Conditions of entry shall be pre-arranged with the owner of the property by the vendor.

- Equipment:  The vendor shall meet all equipment tracking, damage, and decommissioning requirements as outlined below:

  - Intrinsically safe monitoring equipment:  The vendor is required to use intrinsically safe flow monitoring equipment when installing in sewer and combined sewer applications.

  - Tracking and warehousing:  Equipment may be both new from the manufacturer or existing City owned equipment.  All equipment provided by the City shall be tagged and inventoried by the vendor upon receipt, including tracking all serial numbers.  The vendor shall establish a master tracking system to record all equipment activity, including maintenance, repair, warranty work, replacement, etc by meter serial number, and these records shall be delivered to the City monthly. The system shall also record the installed site location, using maintenance hole ID or nearest cross-street/address so that the whereabouts of all the City assets are easy to retrieve.  Any broken sensors requiring disposal must be tracked by sensor type and quantity if they don’t have serial numbers.

    - Other companies requiring monitoring equipment – The vendor shall coordinate equipment access with other companies who have temporary flow monitoring projects with the City.  The vendor shall supply working monitors and will receive working monitors when returned.  As part of the master tracking system, the vendor shall log all equipment taken and returned by other companies including monitor serial numbers, sensor quantities, and authorization signatures of the vendor and other monitoring company.  The vendor shall supply copies of these signed logs to the City monthly with invoicing.  If any equipment is lost by the other company, the vendor is required to provide the City a copy of the logs with both signatures as proof the lost equipment was in the care of the other company and the other company will be required to replace the lost equipment.  If the vendor cannot supply a log with the other company’s signature, the vendor will be responsible for replacing lost equipment.

  - Damage: Any City equipment in the custody of the vendor that is lost or damaged due to the sole negligence of the vendor shall be promptly replaced at no cost to the City.  Equipment vandalized, lost or otherwise damaged due to circumstances beyond the control of the vendor (e.g. major storm surges in the system) shall be replaced at the discretion of the City and at no cost to the vendor. Equipment failures due to manufacturer’s defects and/or warranty repairs shall be processed by the vendor and sent to the factory for servicing.

  - Decommissioning:  At the conclusion of monitoring, equipment shall be removed, cleaned and decontaminated by the vendor.  The vendor shall test operation of all equipment and report findings to the City.  All manufacturers’ recommendations and the City procedures shall be followed.  Equipment shall be returned to the City in proper working order unless damage is documented to have occurred beyond the control of the vendor, and subject to normal wear and tear.  The equipment tracking system shall be utilized to document all decommissioning and equipment return activities.

  - Batteries and other consumables.  Purchase and appropriate disposal of batteries and other consumables such as dessicants are a vendor responsibility.  Battery disposal shall be in accordance with responsible environmental practices.

  - Monitor repair:  The vendor is responsible for repairing all broken monitors as part of field service.  Any repairs on intrinsically safe flow monitoring equipment require a technician certified to work on intrinsically safe equipment.  If repairs on intrinsically safe equipment are made with a non-certified technician, the equipment’s intrinsically safety rating is compromised and the vendor will be responsible for replacing the compromised equipment.  The vendor shall supply the City with proof that the technician repairing equipment is certified to work on intrinsically safe equipment.

  - Spare parts:  The vendor will be required to store a minimum 10% spare sensors to be acquired through equipment purchase bid sheet item.  SPU must sign off on all spare parts purchased before purchase is made.

  - Equipment for service:  The vendor will supply all equipment used to service the site during site visits.

  - Wireless communication:  Wireless communications services and equipment shall be a vendor responsibility.  Most utility owned flow monitoring equipment has wireless communication options.  The vendor will be responsible for purchase of any necessary SIM cards and wireless services for data retrieval.

- Deadline, schedules:  The vendor shall meet due dates as specified and scheduled in the City service requests.

- Subcontractors	All subcontractors must be approved by the City in writing and the City reserves the right to terminate any subcontractor at the City’s discretion.

- Purchase requests:  For work that is outside of regularly scheduled monthly tasks, the vendor shall create a purchase request describing the goods or services to be purchased with costs and submit to the City for review and signature before the work can commence.

- Location of work:  All vendor service work shall be performed within the City of Seattle operational area (essentially within City limits.)  Much of this work shall take place in the Utility owned drainage, wastewater, and combined conveyance systems below City streets, within right-of-ways, or City parks.  Work on private property or within County owned conveyance systems may also be required.

  - Access to rain gauge sites:  Most of the City rain gauges are located in secure areas (i.e. within fenced areas, on top of school rooftops, etc.) and some are located on property not owned or maintained by the City. The City will assist the vendor in gaining access to all sites by providing a list of the contact persons however, it is the responsibility of the vendor to schedule all site visits in advance, depending on the site and the conditions of the location. Any questions concerning access to the sites should be directed to the SPU Rainfall Data Steward.

- Restrictions:  Work may occasionally need to be performed on private property.   The vendor shall work out access issues directly with the private property owner.

Contract Term:  This contract shall be for a one (1) year period, with a options to extend for six additional years at one year increments. An affidavit will be required at the end of the contract period and a new intent filed at the beginning of the new contract extension. Such extensions shall be automatic, and shall go into effect without written confirmation, unless the City provides advance notice of the intention to not renew.

No Guaranteed Utilization: The City does not guarantee utilization through any resultant contract.  The solicitation may provide estimates of utilization solely to help Vendors prepare their proposals; and does not serve as a guarantee of usage.  The City reserves the right to multiple or partial awards, and/or to order greater or less quantities based on City needs. The City reserves the right to use other appropriate contract sources to obtain these products or services, such as State of Washington Contracts. The City may also periodically re-solicit for new additions to the Vendor pool, to invite additional Vendors to submit proposals or proposals for award.  Use of such supplemental contracts does not limit the right of the City to terminate existing contracts for convenience or cause.

- If the City awards multiple contracts to form a vendor pool, this RFP established competition compliant to City competitive proposal laws; the City Project Manager may place an order with any pool vendor or may solicit multiple quotes to select among the pool vendors.  If departments request quotes, the Vendors must use the costs and hourly rates in the contract.

Contact Expansion:  Any resultant contract or Purchase Order may be expanded as allowed below. A modification may be considered per the criteria and procedures below, for any ongoing Contract that has not yet expired.  Likewise, a one-time Purchase Order may be modified if the proposal reserved the right for additional orders to be placed within a specified period of time, or if the project or body of work associated with a Purchase Order is still active.  Such modifications must be mutually agreed.  The only person authorized to make such agreements the City is the Buyer from the City Purchasing Division (Department of Finance and Administrative Services).  No other City employee is authorized to make such written notices.  Expansions must be issued in writing from the City Buyer in a formal notice.  The Buyer will ensure the expansion meets the following criteria collectively:  (a)  it could not be separately propose, (b) the change is for a reasonable purpose, (c) the change was not reasonably known to either the City or vendors at time of proposal or else was mentioned as a possibility in the proposal (such as a change in environmental regulation or other law); (d) the change is not significant enough to be reasonably regarded as an independent body of work; (e) the change could not have attracted a different field of competition; and (f) the change does not vary the essential identity or main purpose of the contract.  The Buyer shall make this determination, and may make exceptions for immaterial changes, emergency or sole source conditions, or for other situations as required in the opinion of the Buyer.

Note that certain changes are not considered an expansion of scope, including an increase in quantities ordered, the exercise of options and alternates in the proposal, or ordering of work originally identified within the originating solicitation. If such changes are approved, changes are conducted as a written order issued by the City Purchasing Buyer in writing to the Vendor.

Limits of Sales to Authorized Products and Services: Vendor has responsibility to limit sales to those products or services authorized within the contract, whether authorized by changes and amendments or stated within the original contract scope.  The Vendor is responsible for refusing orders that are not properly authorized by the contract or through other proper Purchase Orders issued by authorized persons from the City.  If the Vendor has consistent sales of unauthorized products or services, the City reserves the right to use any of the following: terminate the contract in accordance with termination provisions, place the Vendor payments on “hold” for all incoming invoices while the City determines which are authorized items eligible for payment, and/or refuse certain invoices that contain non-authorized items.

Vendor Usage Reports:  The City may request that the Vendor provide reports of purchases made by the City during the contract term.  Within 10 business days of a request, the Vendor will supply the City a report in the requested format. The report must be clearly titled (Company name, contact information, dates of report period).   The Vendor will provide, upon a request by the City, information sorted according to the City request, which may include: invoice specific detail or summary detail, by item name, by the user name (the department customer placing the order), by City Department, and date or order.

Trial Period and Right to Award to Next Low Vendor: A ninety (90) day trial period shall apply to contract(s) awarded as a result of this solicitation.  During the trial period, the vendor(s) must perform in accordance with all terms and conditions of the contract.  Failure to perform during this trial period may cause the immediate cancellation of the contract.  If dispute or discrepancy as to the acceptability of product or service occurs, the City’s decision shall prevail.  The City agrees to pay only for authorized orders received up to the date of termination.  If the contract is terminated within the trial period, the City reserves the option to award the contract to the next low responsive Vendor by mutual agreement with such Vendor.  Any new award will be for the remainder of the contract and will also be subject to this trial period.

Background Checks and Immigrant Status

Background checks may be required for workers that will be performing the standard flow monitoring work under this contract.   Any vendor staff who service rain gauges located on school roofs are required to provide background checks to the City prior to any school visits.  The City has strict policies regarding the use of Background checks, criminal checks and immigrant status for contract workers.  The policies are incorporated into the contract and available for viewing on-line at http://www.seattle.gov/city-purchasing-and-contracting/social-equity/background-checks

Schedule, Orders, Delivery

Order Desk:  The vendor shall provide a telephone service or “order desk” to receive calls from City departments for advice or assistance, recommendations on products, parts, and repairs, and for receiving and processing of phone orders.  The Order Desk shall be available from 8:00a.m to 5:00 p.m. all business days except City holidays.  If your standard operating hours are otherwise, notify the RFP Coordinator (Buyer).  Depending on the operating needs of the Department, hours that are similar to, but not exactly the same as the 8-5 schedule may be accepted by the City as compliance to this requirement. Any off hours staffing requirements are addressed in the scope.

No Minimum Order: There shall be no minimum order quantity for this contract.

Warranty:  The Vendor shall warrant all materials and workmanship delivered under any resulting contract to be free from defects, damage or failure for any reason whatsoever which the City may reasonably determine is the responsibility of the Vendor, for a minimum of ninety (90) days after the date of final acceptance and without cost to the City for labor, materials, parts, installation or any other costs except where longer periods of warranty of guarantees are specified.

Right to Replace Products & Product Discontinuance:  In the event the manufacturer discontinues or replaces a product, Vendor may request the City substitute a new product or model on the contract.  The City may allow the Vendor to provide a substitute product, upon confirmation that the product has been discontinued.  Pricing for such a product replacement or substitute must be the same discount rate as provided to the City on the original product.

Prohibition on Advance Payments: The City does not accept requests for early payment, down payment or partial payment, unless Proposal Submittal specifically allows such pre-payment proposals or alternates within the RFP process.  Maintenance subscriptions may be paid up to one year in advance provided that should the City terminate early, the amount paid shall be reimbursed to the City on a prorated basis; all other expenses are payable net 30 days after receipt and acceptance of satisfactory compliance.

## Environmental Specifications

Environmental Standards:  Unless notified otherwise by the Vendor, products bid will be considered complaint to USEPA Standards .See http://www.epa.gov/epaoswer/non-hw/procure/index.htm

Independent Contractor:

The Vendor shall work as an independent contractor.  Although the City provides responsible contract and project management, such as managing deliverables, schedules, tasks and contract compliance, this is distinguished from a traditional employer-employee function.  This contract prohibits vendor workers from supervising City employees, and prohibits vendor workers from supervision by a City employee.  Prohibited supervision tasks include conducting a City of Seattle Employee Performance Evaluation, preparing and/or approving a City of Seattle timesheet, administering employee discipline, and similar supervisory actions.

Contract workers shall not be given City office space unless expressly provided for below, and in no case shall such space be provided for over 36 months without specific authorization from the City Project Manager.

The City will not provide space in City offices for performance of this work.  Vendors must perform work from their own office space or in the field, as appropriate to the work.

Prevailing Wage Requirements: This contract is subject to prevailing wages per RCW 39.12 (Prevailing Wages on Public Works) and RCW 49.28 (Hours of Labor) as amended or supplemented.  Contractor is responsible for compliance by the Contractor and all subcontractors.   Any Offer must be sufficient to pay prevailing wages, and vendor costs associated with filing of Intents and Affidavits, including filing of one or multiple Intents and Affidavits as required by the Department of Labor & Industries. Contractor and any subcontractor shall pay no laborer, worker or mechanic less than the prevailing hourly wage rates in effect at the time of bid opening for worker classifications provided for under Prevailing Wages as issued by the State of Washington for the County in which the work shall be performed.

Filing Intents:  The awarded Contractor and all subcontractors must file Intent to Pay Prevailing Wage Form(s) concurrent to contract execution and as otherwise required.

- Before you file your intent, you need certain information from the City Buyer: City Contract Number and Contract Start Date.  The Buyer will tell you the Contract Number; the start date is the date your contract is signed.    For Blanket Contracts with as needed maintenance work, you also need an estimate of total work orders and locations.  The Contractor shall then promptly submit the Intent to the Department of Labor & Industries (L&I) for approval.   The Contractor shall require every subcontractor to file an Intent as well.

- File on-line at http://www.lni.wa.gov/TradesLicensing/PrevWage/default.asp.   If unable to file on-line, a paper copy of the approved Intent shall instead be promptly provided to the Buyer.  Contractor shall notify the Buyer once Intents are filed by the Contractor and all subs.

- Vocationally handicapped workers, i.e. those individuals whose earning capacity is impaired by physical or mental deficiency or injury, may be employed at wages lower than the established prevailing wage.  The Fair Labor Standards Act requires that wages based on individual productivity be paid to handicapped workers employed under certificates issued by the Secretary of Labor.  These certificates are acceptable to the Department of Labor and Industries.  Sheltered workshops for the handicapped may submit a request to the Department of Labor and Industries for a special certificate, which would, if approved, entitle them to pay their employees at wages, lower than the established prevailing wage.

- In certain situations, the Intent is required but the wages may be exempt.  The Vendor may indicate they qualify for an exemption to wages for:

  - Sole owners and their spouse.

  - Any partner who owns at least 30% of a partnership.

  - The president, vice-president, and treasurer of a corporation if each own at least 30% of the corporation.

  - Workers regularly employed on monthly or per diem salary by state or any political subdivision created by its laws.

- Prevailing Wage rates in effect at the time of bid opening are to be used.  These wages remain in effect for the duration of this contract, except for annual adjustments required by this agreement for multi-year contracts (where contract is longer than one year)  and for building service maintenance (janitorial, waxers, shampooers, and window cleaners).

- It is the sole responsibility of the Contractor to assign the appropriate classification and associated wage rates to all laborers, workers or mechanics that perform any work under this contract, in conformance with the scope of work descriptions of the Industrial Statistician of the Washington State Department of Labor and Industries.

- With each invoice, attach or write a statement that wages paid were compliant to Prevailing Wage rates, including the Contractor and any subcontractors.

- Upon contract completion, file Affidavit of Wages Paid (form L700-007-000) approved by the Industrial Statistician of Washington L&I. This may be performed on-line if the Contractor has initiated the original Intent to Pay Prevailing Wage process on line.  The receipt of the approved affidavit is required before Seattle can pay the final invoice. The City may withhold payment on any invoice due the Contractor until the approved affidavit is received. The Contractor shall also ensure that each Subcontractor likewise files an Affidavit. The Contractor shall notify the Buyer and provide a copy of the Affidavit(s).

- For jobs above $10,000, Contractor must post the Intent Form for employees’ inspection, including the list of the labor classifications and wages for the project.   This may be posted in the nearest local office, for road construction, sewer line, pipeline, transmission line, street or alley improvement projects as long as the employer provides a copy of the Intent form to the employee upon request.

- If a dispute arises about prevailing wages and it cannot be solved by the parties, the matter shall be referred to the Director of the Department of Labor and Industries of the State of Washington.  The Director’s decision is final, conclusive and binding.  If the dispute involves federal prevailing wage, the matter shall be referred to the U.S. Secretary of Labor for a decision and the Secretary’s decision is final, conclusive and binding.

Prevailing Wage rate changes for Maintenance or Service Contracts greater than one year in duration:

- For maintenance service contracts greater than one year duration, such as building service maintenance contracts (janitors, waxers, shampooers, and window cleaners) and other multi-year service contracts where prevailing wages are required, the Vendor and subcontractors must pay at least the prevailing wage rates in effect at time of bid throughout the duration of the contract.

- Each contract anniversary, Vendor and subcontractors shall review the current Prevailing Wage Rates.  The Vendor shall increase wages paid if required to meet no less than the current prevailing wage rates for those positions that are covered by such wage rates, in effect at the time of the contract anniversary.  Vendor and subcontractors shall file an affidavit and new intent prior to contract extension.

- Any price or rate increases made because of a change in the prevailing wages will be compensated by the City on a pass through basis if the Vendor requests a price increase under the price increase request requirements provided earlier within this agreement.  The Vendor must follow the contract instructions for pricing increases, by notifying the Buyer at least 45 days prior to the contract anniversary date of any resulting price increase and documenting the increase.

- Payroll, wage, and cost records shall be retained, and may be audited or inspected. The Contractor, every Subcontractor, and all other individuals or firms required to pay prevailing wages are subject to investigation—including but not limited to on-site compliance interviews—by City Purchasing and Contracting Services (CPCS) and L&I in regard to payment of the required prevailing wage to workers, laborers, and mechanics employed on the project. If the investigations result in a finding that an individual or firm has violated the requirement to pay the prevailing rate of wage, the Owner may withhold payments to the Contractor. The Contractor or Subcontractor may also be subject to civil penalties and may be prohibited from bidding on any contract within the State of Washington for the period specified by law.

Paid Sick Time and Safe Time Ordinance

Be aware that the City has a Paid Sick Time and Safe Time ordinance that requires companies to provide employees who work more than 240 hours within a year inside Seattle, with accrued paid sick and paid safe time for use when an employee or a family member needs time off from work due to illness or a critical safety issue. The ordinance applies to employers, regardless of where they are located, with more than four full-time equivalent employees.  This is in addition and additive to benefits a worker receives under prevailing wages per WAC 296-127-014(4). City contract specialists may audit payroll records or interview workers as needed to ensure compliance to the ordinance. Please see http://www.seattle.gov/laborstandards, or may call the Office of Labor Standards at 206.684.4500 with questions.

- INSTRUCTIONS AND INFORMATION

This chapter details City procedures for directing the RFP process.  The City reserves the right in its sole discretion to reject the proposal of any Proposer that fails to comply with any procedure in this chapter.

Registration into City On-line Business Directory: If you have not previously completed a one-time registration into the City of Seattle On-line Business Directory, we request you register at: http://www.seattle.gov/city-purchasing-and-contracting/online-business-directory. The City’s On-line Business Directory is used by City staff to locate your contract(s) and identify companies for bid lists on future purchases.  Responses will be not rejected for failure to register, however, if you win a contract and have not registered, you will be required to place yourself, or you will be added into the system. Women and minority owned firms are asked to self-identify.  If you need assistance, please call 206-684-0444.

## Communications with the City: All Vendor communications concerning this acquisition shall be directed to the RFP Coordinator.  The RFP Coordinator is:

Jason Edens

206-733-9583

Jason.edens@seattle.gov

Unless authorized by the RFP Coordinator, no other City official or City employee is empowered to speak for the City regarding this acquisition.  Any Proposer seeking to obtain information, clarification, or interpretations from any other City official or City employee (other than the RFP Coordinator) is advised that such material is used at the Proposer’s own risk. The City will not be bound by any such information, clarification, or interpretation.

Following the Proposal submittal deadline, Proposers shall continue to direct communications to only the City RFP Coordinator.  The RFP Coordinator will send out information to responding companies as decisions are concluded.

## Contact by a vendor regarding this acquisition with a City employee other than the RFP Coordinator or an individual approved by the RFP Coordinator in writing, may be grounds for rejection of the vendor’s proposal.

Pre-Proposal Conference: The City shall conduct an optional pre-proposal conference on the time and date in page 1, at the Seattle City Purchasing Office, 700 5th Avenue, Suite 4112, Seattle.  Proposers are highly encouraged to attend but not required to attend to be eligible to submit a proposal.  The meeting answers questions potential Proposers may have regarding the solicitation document and to discuss and clarify any issues.  This is an opportunity for Proposers to raise concerns regarding specifications, terms, conditions, and any requirements of this solicitation.  Failure to raise concerns over any issues at this opportunity will be a consideration in any protest filed regarding such items known as of this pre-proposal conference.

Those unable to attend in person may participate via Skype. Please see the following information:

 Join Skype Meeting

Trouble Joining? Try Skype Web App

Join by phone

206-386-1200 (US)                            English (United States)

844-386-1200 (US)                            English (United States)

Find a local number

Conference ID: 7715562

Questions: Questions are to be submitted to the Buyer no later than the date and time on page 1, to allow sufficient time for the City Buyer to consider the question before the proposals are due.  The City prefers such questions to be through e-mail directed to the City Buyer e-mail address. Failure to request clarification of any inadequacy, omission, or conflict will not relieve the vendor of any responsibilities under this solicitation or any subsequent contract.  It is the responsibility of the interested Vendor to assure they received responses to Questions if any are issued.

Changes to the RFP/Addenda: A change may be made by the City if, in the sole judgment of the City, the change will not compromise the City’s objectives in this acquisition.  A change to this RFP will be made by formal written addendum issued by the City’s Buyer Addenda and shall become part of this RFP and included as part of the Contract. It is the responsibility of the interested Vendor to assure they have received Addenda if any are issued.

Bid Blog: Our website has an option for those companies familiar with RSS Technology.  You may opt to subscribe to an “RSS Feed” on our new Blog (titled “The Buy Line”).  This is optional; it is for your convenience and recommended for those companies familiar with RSS technology.  The RSS Feed technology provides alerts for updates, including addenda, or information posted on our blog for the solicitation you are interested in.  http://www.seattle.gov/city-purchasing-and-contracting/city-purchasing

Receiving Addenda and/or Question and Answers: The City Buyer will try to provide you notices, either through the RSS Feed or direction e-mail courtesy announcements, that changes or addendums have been posted on our website.

Notwithstanding efforts by the City to provide such notice to known vendors, it remains the obligation and responsibility of the Vendor to learn of any addendums, responses, or notices issued by the City.  Such efforts by the City to provide notice or to provide it on the website do not relieve the Vendor from the sole obligation for learning of such material.

Note that some third-party services decide to independently post City of Seattle proposals on their websites as well.  The City does not, however, guarantee that such services have accurately provided proposers with all the information published by the City, particularly Addendums or changes to bid date/time.

All proposals sent to the City shall be compliant to all Addendums, with or without specific confirmation from the Proposer that the Addendum was received and incorporated.  However, the Buyer can reject the Bid if it does not reasonably appear to have incorporated the Addendum.  The Buyer could decide that the Proposer did incorporate the Addendum information, or could determine that the Proposer failed to incorporate the Addendum changes and that the changes were material so the Buyer must reject the Offer, or the Buyer may determine that the Proposer failed to incorporate the Addendum changes but that the changes were not material and therefore the Bid may continue to be accepted by the Buyer.

## Submittal Requirements: This section details City procedures for submittal.

- Number all pages sequentially.  The format should follow closely that requested in this RFP.

- The City may designate page limits for certain sections of the response.  Any pages that exceed the page limit will be excised from the document for evaluation.

- The response should be in an 8 1/2” by 11” format.  Non-recyclable materials are strongly discouraged.  Proposers are encouraged to “double side”.  If there are page limitations, one side of a printed page is considered one page.

Late Submittals: Proposers have full responsibility to ensure the response arrives at the City within the deadline. A late submittal may be rejected, unless the lateness is waived as immaterial by the City Purchasing and Contracting Services Director, given specific fact-based circumstances.  Late responses may be returned unopened to the submitting firm; or CPCS may accept the package and make a determination as to lateness.

Hard Copy Submittal: Submittal Requirements.  One original (1) unbound, six (6) copies, and one (1) electronic CD copy of the response must be received no later than the date and time specified on the Solicitation Schedule or as otherwise amended.  Fax, e-mail and CD copies will not be an alternative to the hard copy. If a CD, fax or e-mail version is delivered to the City, the hard copy will be the only official version accepted by the City.

Table 2: Hard Copy Submittal Addresses

| Physical Address (courier) | Mailing Address (For US Post Office mail) |
| --- | --- |
| City Purchasing and Contracting Services Division Seattle Municipal Tower Suite 4112 700 Fifth Avenue Seattle, Washington, 98104 | City Purchasing and Contracting Services Division Seattle Municipal Tower P.O. Box 94687 Seattle, Washington, 98124-4687 |

- Hard-copy responses should be in a sealed box or envelope clearly marked and addressed with the CPCS Buyer Name, RFP title and number.  If packages are not clearly marked, the Proposer has all risks of the package being misplaced and not properly delivered.

- The Submittal may be hand-delivered or must otherwise be received by the Buyer at the address provided, by the submittal deadline.  Delivery errors will result without careful attention to the proper address.

- Submittals and their packaging (boxes or envelopes) should be clearly marked with the name and address of the Proposer.

- Please do not use any plastic or vinyl binders or folders.  The City prefers simple, stapled paper copies. If a binder or folder is essential due to the size of your submission, they are to be fully 100% recycled stock.  Such binders are available from Keeney’s Office Supply at 425-285-0541 or Complete Office Solutions at 206-650-9195.

- Please double-side your submittal.

No RFP Opening – No Reading of Prices: The City does not conduct a bid opening for RFP responses.

Offer Form: Proposer shall specify response in the format and on any forms provided, indicating unit prices if appropriate, and attaching additional pages if needed.  In the case of difference between the unit pricing and the extended price, the City shall use the unit pricing.  The City may correct the extended price accordingly.  Proposer shall quote prices with freight prepaid and allowed.  Proposer shall quote prices FOB Destination.   All prices shall be in US Dollars.

Proposer Responsibility to Provide Full Response: It is the Proposer’s responsibility to respond, which does not require interpretation or clarification by the Buyer.  The Proposer is to provide all requested materials, forms and information. The Proposer is responsible to ensure the materials submitted will properly and accurately reflects the Proposer specifications and offering.  During scoring and evaluation (prior to interviews if any), the City will rely upon the submitted materials and shall not accept materials from the Proposer after the RFP deadline; however this does not limit the right of the City to consider additional information (such as references that are not provided by the Proposer but are known to the City, or past experience by the City in assessing responsibility), or to seek clarifications by the City.

Partial and Multiple Awards: Unless stated to the contrary in the Scope of Work, the City reserves the right to name a partial and/or multiple awards, in the best interest of the City.   Proposers are to prepare proposals given the City’s right to a partial or multiple awards.  If Proposer is submitting an “All” or “None” offer such offer must be clearly marked as “All” or “None”.  Further, the City may eliminate an individual line item when calculating award, to best meet the needs of the City, if a line item is not routinely available or is a cost that exceeds the City funds.  For Proposals, the City may negotiate with the successful Proposer, to finalize the work and specifications consistent with the objectives of the RFP.

Taxes: The City is exempt from Federal Excise Tax. Washington state tax, use tax if any, and local sales tax will be added onto the resultant Contract cost, although will not be used in evaluation of costs.

## Interlocal Purchasing Agreements: This is for information only and is not be used to evaluate candidates. RCW 39.34 allows cooperative purchasing between public agencies, and other political subdivisions. SMC 20.60.100 also allows non profits to use these agreements. The seller agrees to sell additional items at the offer prices, terms and conditions, to other eligible governmental agencies that have such agreements with the City.  The City of Seattle accepts no responsibility for the payment of the purchase price by other governmental agencies.  Should the Proposer require additional pricing for such purchases, the Proposer is to name such additional pricing upon Offer to the City.

## Contract Terms and Conditions: Vendors are to price and submit proposals with the understanding that all specifications, requirements, terms and conditions are mandatory for the Vendor to comply with.  Proposers are responsible to review all specifications, requirements, Terms and Conditions, insurance requirements, and other requirements.  Submittal of a proposal is agreement to comply without exception, unless modified by the City. The City has the right to negotiate changes to submitted proposals and to change the City's otherwise mandatory terms and conditions during negotiations, or by providing notice to the Vendor during the contract.

Negotiations: Nothing herein prohibits the City from opening discussions with the highest ranked apparent successful Proposer, to negotiate modifications to either the proposal or the contract terms and conditions, to align the proposal or the contract to best meet City needs within the scope sought by the RFP.

## Effective Dates of Offer: Offer prices and costs in Proposer submittal must remain valid until City completes award.  Should any Proposer object to this condition, the Proposer must provide objection through a question and/or complaint to the Buyer prior to the proposal due date.

Prompt Payment Discount: On the Offer form or in submittal, the Proposer may state a prompt payment discount term, if the Proposer offers one to the City.  A prompt payment discount term of ten or more days will be considered in evaluation.

## Cost of Preparing Proposals: The City will not be liable for any costs incurred by the Proposer in the preparation and presentation of proposals submitted in response to this RFP including, but not limited to, costs incurred in connection with the Proposer’s participation in demonstrations and the pre-proposal conference.

## Proposer Responsibility: It is the Proposer responsibility to examine all specifications and conditions thoroughly, and comply fully with specifications and all attached terms and conditions.  Proposers must comply with all Federal, State, and City laws, ordinances and rules, and meet any and all registration requirements where required for contractors as set forth in the Washington Revised Statutes.

Prohibited Contacts: Proposers shall not interfere in any way to discourage other potential and/or prospective Proposers from proposing or considering a proposal process.  Prohibited contacts includes but is not limited to any contact, whether direct or indirect (i.e. in writing, by phone, email or other, and by the Proposer or another person acting on behalf of the Proposer) to a likely firm or individual that may discourage or limit competition.  If such activity is evidenced to the satisfaction and in sole discretion of the City Purchasing Manager, the Proposer that initiates such contacts may be rejected from the process.

Readability: Proposers are advised that the City’s ability to evaluate proposals is dependent in part on the Proposer’s ability and willingness to submit proposals which are well ordered, detailed, comprehensive, and readable.  Clarity of language and adequate, accessible documentation is essential.

Changes or Corrections in Proposal Submittal: Prior to the submittal closing date and time, a Vendor may change its proposal, if the change is initialed and dated by the Vendor.  No change shall be allowed after the closing date and time. Note you cannot change, mark-up or cross-out any condition, format, provision or term that appears on the City’s published Offer Form. If you need to change any of your own prices or answers that you write on the Offer Form, it must be made in pen, initialed, and be clear in intent.  Do not use white-out.

Errors in Proposals: Proposers are responsible for errors and omissions in their proposals.  No such error or omission shall diminish the Proposer’s obligations to the City.

Withdrawal of Proposal: A submittal may be withdrawn by written request of the submitter, prior to the quotation closing date and time.  After the closing date and time, the submittal may be withdrawn only with permission by the City.

## Rejection of Proposals and Rights of Award: The City reserves the right to reject any or all proposals with no penalty.  The City also has the right to waive immaterial defects and minor irregularities in any submitted proposal.

## Incorporation of RFP and Proposal in Contract: This RFP and the Proposer’s response, including all promises, warranties, commitments, and representations made in the successful proposal as accepted by the City, shall be binding and incorporated by reference in the City’s contract with the Proposer.

## Equal Benefits: Seattle Municipal Code Chapter 20.45 (SMC 20.45) requires consideration of whether proposers provide health and benefits that are the same or equivalent to the domestic partners of employees as to spouses of employees, and of their dependents and family members.  The bid package includes a “Vendor Questionnaire” which is the mandatory form on which you make a designation about the status of such benefits. If your company does not comply with Equal Benefits and does not intend to do so, you must still supply the information on the Vendor Questionnaire. Instructions are provided at the back of the Questionnaire.

Women and Minority Opportunities: The City intends to provide the maximum practicable opportunity for successful participation of minority and women owned firms, given that such businesses are underrepresented.  The City requires all Proposers agree to SMC Chapter 20.42, and will require proposals with meaningful subcontracting opportunities to also supply a plan for including minority and women owned firms.

A Woman and Minority Inclusion Plan is a mandatory submittal with your RFP response, and is provided for you in the Submittal Instruction section of this RFP document. The City requires all vendors to submit an Inclusion Plan.  Failure to submit a plan will result in rejection of your RFP response. The inclusion plan will be scored as part of the evaluation.  The Inclusion Plan is a material part of the contract.  Read the Inclusion Plan carefully; it is incorporated into the contract.  At City request, vendors must furnish evidence of compliance, such as copies of agreements with WMBE subcontractors.    The plan seeks WMBE business utilization as well as recognizes those companies or respondents that have a unique business purpose for hiring of workers with barriers.

## Insurance Requirements: Insurance requirements in Attachment #1 are mandatory.  If none, then Contract requirements apply.  If formal proof of insurance must be submitted to the City before execution of the Contract, the City will remind the apparent successful proposal in the Intent to Award letter.  The apparent successful Proposer must promptly provide such proof of insurance to the City in reply to the Intent to Award Letter.  Contracts will not be executed until all required proof of insurance has been received and approved by the City.

Vendors are encouraged to immediately contact their Broker to begin preparation of the required insurance documents, if the Vendor is selected as a finalist.  Proposers may elect to provide the requested insurance documents within their Proposal.

## Proprietary Materials

## The State of Washington’s Public Records Act (Release/Disclosure of Public Records) Under Washington State Law (reference RCW Chapter 42.56, the Public Records Act) all materials received or created by the City of Seattle are considered public records.  These records include but are not limited to bid or proposal submittals, agreement documents, contract work product, or other bid material.

The State of Washington’s Public Records Act requires that public records must be promptly disclosed by the City upon request unless that RCW or another Washington State statute specifically exempts records from disclosure.  Exemptions are narrow and explicit and are listed in Washington State Law (Reference RCW 42.56 and RCW 19.108).

Bidders/proposers must be familiar with the Washington State Public Records Act and the limits of record disclosure exemptions.  For more information, visit the Washington State Legislature’s website at http://www1.leg.wa.gov/LawsAndAgencyRules).

If you have any questions about disclosure of the records you submit with your bid, please contact City Purchasing at (206) 684-0444.

## Marking Your Records Exempt from Disclosure (Protected, Confidential, or Proprietary)

As mentioned above, all City of Seattle offices (“the City”) are required to promptly make public records available upon request.  However, under Washington State Law some records or portions of records are considered legally exempt from disclosure and can be withheld.  A list and description of records identified as exempt by the Public Records Act can be found in RCW 42.56 and RCW 19.108.

If you believe any of the records you are submitting to the City as part of your bid/proposal or contract work products, are exempt from disclosure you can request that they not be released before you receive notification.  To do so you must complete the City Non-Disclosure Request Form (“the Form”) provided by City Purchasing (see attached Form as part of the Vendor Questionnaire), very clearly and specifically identify each record and the exemption(s) that may apply, and submit a copy of your records with the specified exemptions redacted. (If you are awarded a City contract, the same exemption designation will carry forward to the contract records.)

The City will not withhold materials from disclosure simply because you mark them with a document header or footer, page stamp, or a generic statement that a document is non-disclosable, exempt, confidential, proprietary, or protected.  Do not identify an entire page as exempt unless each sentence is within the exemption scope; instead, identify paragraphs or sentences that meet the specific exemption criteria you cite on the Form.  Only the specific records or portions of records properly listed on the Form will be protected and withheld for notice.  All other records will be considered fully disclosable upon request.

If the City receives a public disclosure request for any records you have properly and specifically listed on the Form, the City will notify you in writing of the request and will postpone disclosure.  While it is not a legal obligation, the City, as a courtesy, will allow you up to ten business days to file a court injunction to prevent the City from releasing the records (reference RCW 42.56.540).  If you fail to obtain a Court order within the ten days, the City may release the documents.

The City will not assert an exemption from disclosure on your behalf.  If you believe a record(s) is exempt from disclosure you are obligated to clearly identify it as such on the Form and submit it with your solicitation.  Should a public record request be submitted to City Purchasing for that record(s), you can then seek an injunction under RCW 42.56 to prevent release.  By submitting a bid document, the bidder acknowledges this obligation; the proposer also acknowledges that the City will have no obligation or liability to the proposer if the records are disclosed.

## Requesting Disclosure of Public Records

The City asks bidders and their companies to refrain from requesting public disclosure of bids until an intention to award is announced.  This measure is intended to protect the integrity of the solicitation process particularly during the evaluation and selection process or in the event of a cancellation or re-solicitation.  With this preference stated, the City will continue to be responsive to all requests for disclosure of public records as required by State Law.  If you do wish to make a request for records, please make your request through the City of Seattle’s Public Records Request Center at www.seattle.gov/public-records/public-records-request-center.

Ethics Code: Please familiarize yourself with the new code:  http://www.seattle.gov/ethics/etpub/et_home.htm.  Attached is a pamphlet for Vendors, Customers and Clients.  Specific question should be addressed to the staff of the Seattle Ethics and Elections Commission at 206-684-8500.

No Gifts and Gratuities:  Vendors shall not directly or indirectly offer anything of value (such as retainers, loans, entertainment, favors, gifts, tickets, trips, favors, bonuses, donations, special discounts, work, or meals) to any City employee, volunteer or official, if it is intended or may appear to a reasonable person to be intended to obtain or give special consideration to the Vendor.  An example is giving a City employee sporting event tickets to a City employee on the evaluation team of a bid you plan to submit. The definition of what a “benefit” would be is broad and could include not only awarding a contract but also the administration of the contract or the evaluation of contract performance.  The rule works both ways, as it also prohibits City employees from soliciting items from vendors.  Promotional items worth less than $25 may be distributed by the vendor to City employees if the Vendor uses the items as routine and standard promotions for the business.

Involvement of Current and Former City Employees: If a Vendor has any current or former City employees, official or volunteer, working or assisting on solicitation of City business or on completion of an awarded contract, you must provide written notice to City Purchasing of the current or former City official, employee or volunteer’s name.  The Vendor Questionnaire within your bid documents prompts you to answer that question.  You must continue to update that information to City Purchasing during the full course of the contract.  The Vendor is aware and familiar with the Ethics Code, and educates vendor workers accordingly.

Contract Workers with more than 1,000 Hours: The Ethics Code has been amended to apply to vendor company workers that perform over 1,000 cumulative hours on any City contract during any 12-month period.  Any such vendor company employee covered by the Ethics Code must abide by the City Ethics Code. The Vendor is to be aware and familiar with the Ethics Code, and educate vendor workers accordingly.

No Conflict of Interest: Vendor (including officer, director, trustee, partner or employee) must not have a business interest or a close family or domestic relationship with any City official, officer or employee who was, is, or will be involved in selection, negotiation, drafting, signing, administration or evaluating Vendor performance. The City shall make sole determination as to compliance.

Campaign Contributions (Initiative Measure No. 122)

Elected officials and candidates are prohibited from accepting or soliciting campaign contributions from anyone having at least $250,000 in contracts with the City in the last two years or who has paid at least $5,000 in the last 12 months to lobby the City.  Please see Initiative 122, or call the Ethics Director with questions.  For questions about this measure, contact: Polly Grow, Seattle Ethics and Elections, 206-615-1248 or polly.grow@seattle.gov.

- OFFER SHEET AND MANDATORY SUBMITTALS

Submit proposal with the following format and attachments.  Failure to clearly and completely provide all information below, on forms provided and in order requested, may result in rejection as non-responsive.

- Cover letter (optional)

- Legal Name: Submit a certificate, copy of web-page, or other documentation from the Secretary of State in which you incorporated that shows your legal name as a company.  Many companies use a “Doing Business As” Name, or a Nickname in their daily business.  However, the City requires the legal name of your company, as it is legally registered.  When preparing all forms below, use the proper company legal name. Your company’s legal name can be verified through the State Corporation Commission in the state in which you were established, which is often located within the Secretary of State’s Office for each state.  http://www.coordinatedlegal.com/SecretaryOfState.html

- Minimum Qualifications: This is a mandatory submittal. Provide a document of sufficient length or on the form embedded below to indicate Vendor compliance to the Minimum Qualifications. Describe exactly how you achieve each minimum qualification.  The determination you have achieved all the minimum qualifications is made from this or similar document alone and therefore the Buyer is not obligated to check references or search other materials in your proposal to make this decision.

- Vendor Questionnaire: This form is mandatory.  Submit this questionnaire, even if you have submitted one to the City on previous solicitations or contracts.

- Technical Response: This is a mandatory submittal.  Elements of this response will be scored or ranked by the Evaluation Committee.

- Offer Sheet. This is a mandatory submittal.

Submittal Checklist

This checklist is for your convenience only and does not need to be submitted with your proposal.  This checklist summarizes each form or other information required to complete and submit your proposal package to the City.

| Cover Sheet |  |
| --- | --- |
| Legal Name |  |
| Minimum Qualifications Page | Mandatory |
| Vendor Questionnaire | Mandatory |
| Technical Response | Mandatory |
| Offer Sheet | Mandatory |

## EVALUATION PROCESS

Step #1:  Initial Screening: Minimum Qualifications and Responsiveness:  City Purchasing shall first review submittals to determine responsiveness and responsibility.  Those found responsive and responsible based on this initial review shall proceed to Step 2.   Equal Benefits, Minimum Qualifications for those specifications upon which the Proposer is submitting, a responsive and responsible Inclusion Plan, and other elements of responsiveness will be screened in this Step.

Step #2:  Proposal Evaluation:  The City will evaluate proposals using the criteria specified below. Responses will be evaluated and ranked or scored.

Specifications:  The City will evaluate each Vendor’s compliance with the specifications and other bid requirements in the RFP in the following manner:

Team Qualifications and Experience (maximum of 25 points) – No more than 6 pages in length, not including the resumes of key team members.  Each vendor project description can be no longer than 1 page and the total length of any subcontractor project descriptions can be no longer than 3 pages.  Include:

- Descriptions of at least two (2) projects (and no more than 5) where at least 100 flow monitors and 10 rain gages were installed and maintained and data validation was performed to meet CSO regulatory requirements.  The descriptions shall include the client (i.e., municipality or agency), a summary of the work performed, the contract amount, the schedule, the specific role of the prime firm, the project’s outcomes (e.g., number of monitors installed, percent uptime, percent valid data), and a client reference and contact information.

- A list of members of the proposed program team, clearly identifying the Program Manager, the leads on key elements of the Scope of Work, and the specific role of each team member, including subcontractors. The resumes of the key team members, including key subcontractor team members.  Resumes should clearly communicate the specific role(s) the proposed key team member had on related assignments and should include examples that demonstrate the proposed key team member has the expertise and experience to perform successfully in his/her proposed role.

- An organization chart, clearly identifying key members of the team and their roles and any sub-vendors and their roles.  Please indicate which employees are permanent and which are temporary.  Also please indicate the employee turnover rate as a measure of employee retention.

Specification / Technical Approach (maximum of 40 points) – No longer than 10 pages.  Vendors must outline how their team would approach this work assignment, describe in detail how their firm/organization/team will complete the responsibilities and tasks outlined in the Scope of Work, and give a clear description of the work tasks and methods to be utilized.  Include:

- Data organization and reporting methods.

- Approach to timely evaluation of dry weather alarms and delivery of wet weather alarms

- Testing and calibration of equipment pre-installation

- Site installation and documentation of field activities

- Field verification procedures

- Techniques to reducing monitoring outages

- Documentation of field activities affecting data quality

- Maintenance scheduling

- Diagnostic data review procedures and data finalization decisions

- Approach to siting new flow locations

- Calibration and maintenance of equipment

- Risk management

- Safety training practices and procedures

- Practices to reduce environmental impacts

Step #3:  Pricing:  Items on price sheets shall then be calculated for award.  Item pricing will be multiplied by the number of units required for an item total.   Item totals will be totaled for all items for a tabulated total.  If an error in math occurs, unit pricing will be considered the correct price and will be used. If any cost item is missing from a proposed Offer Form, the City reserves the right to reject that response or to calculate and compare responses without that cost item considered.

Discounts for prompt payment shall be reviewed for acceptance and shall be calculated into the Vendor’s response for evaluation.

Offer Sheet / Pricing (maximum of 35 points) – To be evaluated using the bid offer sheet items.  Additional pricing will be  informational only.  The formula that will be used to evaluate pricing is the following:

  - Lowest  = full points (35)

  - Next lower bid = % greater than lowest cost * full points (35) = number of points subtracted from full points = points allocated to the bid

Example:

Lowest bid (Bid #1) = $100,000, next lowest bid (Bid #2) = $125,000.

Bid #2 is 25% more than Bid #1, so

Bid #1 = 35 points, Bid #2 = 26.5 points (25% less points than Bid #1)

Local Business Tax Revenue Consideration:  SMC 20.60.106 (H) authorizes that in determining the lowest and best bid, the City shall consider the tax revenues derived by the City from its business and occupation, utility, sales and use taxes from the proposed purchase.   The City will apply SMC 20.60.106(H) and calculate when the value could serve as a differentiator to determine the lowest bid. The City of Seattle’s Business and Occupation Tax rate varies according to business classification.  Typically, the rate for service such as consulting and other professional services is .00415% and for retail or wholesale sales and associated services, the rate is .00215%.  Only vendors that have a City of Seattle Business License and have an annual gross taxable Seattle income of $100,000 or greater, pay Business and Occupation Tax.

Step #4:  Interviews: The City may interview top ranked firms that are most competitive. If interviews are conducted, rankings of firms and award configurations (i.e. partial and/or multiple awards) shall be determined by the City, using the combined results of interviews and proposal submittals. If interviews are conducted, they will be worth 20 additional points.

The Vendor is to submit the list of names and company affiliations with the Buyer before the interview.  Vendors invited to interview are to bring the assigned Project Manager that has been named by the Vendor in the Proposal, and may bring other key personnel named in the Proposal. The Vendor shall not bring an individual who does not work for the Vendor or for the Vendor as a subcontractor on this project, without specific advance authorization by the City Buyer.

Step #5:  Selection:  The City shall select the highest ranked Proposer for award, or may consider a combination of awards at the option of the City.

Step #6:  Contract Negotiations:  The City may negotiate elements of the proposal as required to best meet the needs of the City, with the apparent successful Proposer.  The City may negotiate any aspect of the proposal or the solicitation.

Repeat of Evaluation Steps: If no Vendor is selected at the conclusion of all the steps, the City may return to any step in the process to repeat the evaluation with those proposals that were active at that step in the process.  The City shall then sequentially step through all remaining steps as if conducting a new evaluation process. The City reserves the right to terminate the process if no proposals meet its requirements.

Points of Clarification:  Throughout the evaluation process, the City reserves the right to seek clarifications from any Vendor.

Substantially Equivalent Scores:  if the top two Vendors receive the substantially equivalent scores, the contract will be awarded to that Vendor who, in the opinion of the City, best meets the City needs.

9. AWARD AND CONTRACT EXECUTION INSTRUCTIONS

The RFP Coordinator intends to provide written notice of the intention to award in a timely manner and to all Vendors responding to the Solicitation.

Protests and Complaints: The City has rules to govern the rights and obligations of interested parties that desire to submit a complaint or protest to this RFP process.  Please see the City website at http://www.seattle.gov/city-purchasing-and-contracting/solicitation-and-selection-protest-protocols for these rules.  Interested parties have the obligation to be aware of and understand these rules, and to seek clarification from the City. Note there are time limits on protests and Proposers have final responsibility to learn of results in sufficient time for such protests to be filed in a timely manner.

Limited Debriefs: The City issues results and award decisions to all proposers. The City provides debriefing on a limited basis for the purpose of allowing bidders to understand how they may improve in future bidding opportunities.

Instructions to the Apparently Successful Vendor(s): The Apparently Successful Vendor(s) will receive an Intent to Award Letter from the RFP Coordinator after award decisions are made by the City.  The Letter will include instructions for final submittals that are due prior to execution of the contract or Purchase Order.

If the Vendor was allowed to request exceptions in the instructions and chose to do so, the City will review and select those the City is willing to accept. There will be no discussion on exceptions. Once the Contract is formulated, the City may identify proposal elements that require further discussion to align the proposal and contract fully with City business needs before finalizing the agreement. If so, the City will initiate the discussion and the Vendor is to be prepared to respond quickly in City discussions. The City has provided only 15 calendar days to finalize such discussions. If mutual agreement requires more than 15 calendar days, the City may terminate negotiations, reject the Proposer and may disqualify the Proposer from future submittals for these same products/services, and continue to the next highest ranked Proposal, at the sole discretion of the City.  The City will send a final agreement package to the Vendor for signature.

Once the City has finalized and issued the contract for signature, the Vendor must execute the contract and provide all requested documents within ten (10) business days.  This includes attaining a Seattle Business License, payment of associated taxes due, and providing proof of insurance.  If the Vendor fails to execute the contract with all documents within the ten (10) day time frame, the City may cancel the award and proceed to the next ranked Vendor, or cancel or reissue this solicitation.  Cancellation of an award for failure to execute the Contract as attached may cause Proposer disqualification for future solicitations for this product/service.

Checklist of Final Submittals Prior to Award: The Vendor(s) should anticipate that the Letter will require at least the following.  Vendors are encouraged to prepare these documents as soon as possible, to eliminate risks of late compliance.

- Seattle Business License is current and all taxes due have been paid.

- State of Washington Business License.

- Certificate of Insurance (if a hard-copy is required by the specifications)

- Intent to Pay Prevailing Wages (for prime and any subcontractors)

Taxpayer Identification Number and W-9: Unless the Vendor has already submitted a Taxpayer Identification Number and Certification Request Form (W-9) to the City, the Vendor must execute and submit this form prior to the contract execution date.

Attachments

# For convenience, the following documents have been embedded in Icon form within this document. (Double click on Icon to open).

Attachment #1:   Insurance Requirements

Attachment #2:  Contract or Terms & Conditions

### Prevailing Wage Rates for King County & Benefit Code Key (MM DD, YYYY Wage Publication must be used)

To receive prevailing wage rates you may do the following:

- To download the rates, go to https://fortress.wa.gov/lni/wagelookup/prvWagelookup.aspx

- A copy is available for viewing in City Purchasing Office

- Upon request, a hard copy may be sent to you.