The following is additional information regarding Invitation to Bid # SU0-4742 titled Large Ultrasonic Water Meters released on March 8th. The due date and time for responses is Tuesday, March 19th at 3:00 p.m. (Pacific). This addendum includes both questions from prospective proposers and the City’s answers and revisions to the ITB. This addendum is hereby made part of the ITB and therefore, the information contained herein shall be taken into consideration when preparing and submitting a bid/proposal.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item # | Date Received | Date Answered | Vendor’s Question | City’s Answer | RFP Revisions |
| 1 | 3/12/2019 | 3/12/2019 | Would the City consider excluding the epoxy coated ductile iron from the bid? | The City will not exclude epoxy coated ductile iron from the bid, however, vendors may submit multiple Bid Offer Forms to list pricing for other materials. The lowest price per size will count for the purposes of evaluation, however, the City may use the additional pricing on the contract to allow for the purchase of ultrasonic meters of different materials. | We will accept more than one Bid Offer Form from a vendor, with lowest price per size used for evaluation. Lead free bronze is now considered an acceptable material.  Under Section 2. Meter Main Case in the specifications document add:  3.) Lead free bronze equaling or exceeding AWWA Standards. |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |