The following is additional information regarding Invitation to Bid # SCL-894 – RE-BID – titled Boundary Units 51,52,54 Overhaul – Turbine Seal Rings, released on 04/15/2019. The due date and time for responses is 05/02/2019 05/16/2019 2PM (Pacific). This addendum includes both questions from prospective proposers and the City’s answers and revisions to the ITB. This addendum is hereby made part of the ITB and therefore, the information contained herein shall be taken into consideration when preparing and submitting a bid.

| Item # | Date Received | Date Answered | Vendor’s Question | City’s Answer | ITB Revisions |
| --- | --- | --- | --- | --- | --- |
| 1 | 04/12/19 | 04/16/19 | Please confirm the City means 165-inch radius, for a diameter of 330 inches for each of the minimum qualifications in section 3 of the ITB. | The requirement should be 165-inch diameter, not radius. | The City is revising the Minimum Qualifications as follows: Replace 165-inch radius with 165-inch diameter. |
| 2 | 04/25/19 | 05/02/19 | Would the City amend section 3.1 and 3.2 to the vendor having performed work on a bronze ring project of diameter approximately 100 inches or greater and having finish machined a ring of over 165 inches or greater for cast or forged bronze? | SCL wishes to maintain the size and material requirements for the casting and forging of the ring. However, for finish machining we will allow work with stainless steel to count as long as it was over the required 165 inches. | The City is revising the Minimum Qualifications as follows: Replace ‘similar bronze material’ with ‘similar bronze or stainless-steel material’ on qualification 3. |
| 3 | 04/25/19 | 05/02/19 | Would the City reword the requirements where 1 and 2 do not contain the word ‘performed’ implying end to end project control but instead use alternate phrase(s), ‘have processed’ or ‘have provided’ or ‘have supplied’ so as not to require the end to end control? | SCL will revise to ‘supplied’ | The City is revising the Minimum Qualifications as follows: Replace ‘performed’ with ‘supplied’ in qualifications 1 through 3. |